## Blad1
Draadloze sensoren | Name | S/n | Check ID Robocrops | Metrics | Note | Row number | Height | Height [m] | Distance from path | Position method | Installation date | Brand | Technical specifications
37 | 30MHz Pointed Microclimate Sensor 7B5 | 0013A20041E3D7B5 | cb5087d2-4d97-4bc0-aa8d-04300432ac94 | Temp, abs. hum, VPD, leaf Temp, rel. hum |  | 236 | Head level | 2.10 | 8.6 | To steel cable | 24-09-2025 | 30MHz | 30MHz Product Specifications
38 | 30MHz Microclimate Sensor 5CC | 0013A20041E3D5CC | d4d49334-8e7a-4cc7-a722-345f1b61f317 | Temp, abs. hum, rel. hum | Batterij leeg --> opladen --> laad niet op (Connect vervangen in Week 40) --> 0013A20041E2DBA7 | 236 | Head level | 1.75 | 8.60 | To steel cable | 24-09-2025 | 30MHz | 30MHz Product Specifications
43 | 30MHz Pointed Microclimate Sensor 3D6 | 0013A20041E273D6 |  | Temp, abs. hum, VPD, leaf Temp, rel. hum | Laad niet op --> 30MHz Connect vervangen in Week 40 --> 0013A20041E2D68D | 228 | Head level | 2.10 | 8.60 | To steel cable | 24-09-2025 | 30MHz | 30MHz Product Specifications
44 | 30MHz Microclimate Sensor BE9 | 0013A20041E2FBE9 | 66897a51-fef1-4b80-bf47-c61a2cae2284 | Temp, abs. hum, rel. hum |  | 228 | Head level | 1.75 | 8.60 | To steel cable | 24-09-2025 | 30MHz | 30MHz Product Specifications
49 | 30MHz Pointed Microclimate Sensor 3BA | 0013A20041E273BA | 21ebef3c-6a25-4c47-a985-a6a461c970ce | Temp, abs. hum, VPD, leaf Temp, rel. hum |  | 208 | Head level | 2.10 | 8.60 | To steel cable | 24-09-2025 | 30MHz | 30MHz Product Specifications
50 | 30MHz Microclimate Sensor 3D5 | 0013A20041E273D5 | d894b243-bad9-4c4f-aabf-fe1aef1f4a61 | Temp, abs. hum, rel. hum |  | 208 | Head level | 1.75 | 8.60 | To steel cable | 24-09-2025 | 30MHz | 30MHz Product Specifications
55 | 30MHz Pointed Microclimate Sensor 7F4 | 0013A20041E3D7F4 | 8a2c013b-fcef-49c3-bb4e-79e5bef59350 | Temp, abs. hum, VPD, leaf Temp, rel. hum |  | 216 | Head level | 2.10 | 8.60 | To steel cable | 24-09-2025 | 30MHz | 30MHz Product Specifications
56 | 30MHz Microclimate Sensor 3B8 |  |  | Temp, abs. hum, rel. hum | Niet aanwezig --> In z'n geheel vervangen in Week 40 en naar rij 216 | [5 empty] | 24-09-2025 | 30MHz | 30MHz Product Specifications (Catalogue format).pdf
61 | Aranet Temperature Humidity sensor 1 | 04A39 | i-a7a4cb78-3b87-483b-98ef-6f2e1c9c33ec | Temp, rel. hum | Dubbel checken of deze in de kas hangt | 228 | Head level | 2.10 | 8.60 | To Sensor 3D6 | 24-09-2025 | Aranet | https://aranet.com/en/pro/shop/aranet-trh-ip67
62 | Aranet Temperature Humidity sensor 2 | 04B0F | i-97c09305-962a-42bc-aee8-88ac993e8da2 | Temp, rel. hum |  | 208 | Head level | 2.10 | 8.60 | To Sensor 3BA | 24-09-2025 | Aranet | https://aranet.com/en/pro/shop/aranet-trh-ip67
63 | Aranet Temperature Humidity sensor 3 | 04ACD | i-d2c0b156-ffd2-42e3-a993-1907e7a9f6ef | Temp, rel. hum |  | 236 | Head level | 2.10 | 8.60 | To sensor 7B5 | 24-09-2025 | Aranet | https://aranet.com/en/pro/shop/aranet-trh-ip67
64 | Aranet Temperature Humidity sensor 4 | 04A15 | i-d9f4d677-9f1c-4ddd-beac-2676b6f19a71 | Temp, rel. hum |  | 216 | Head level | 2.10 | 8.60 | To sensor 7F4 | 24-09-2025 | Aranet | https://aranet.com/en/pro/shop/aranet-trh-ip67
65 | Aranet CO2 & Temperature sensor 1 | 007B9 | i-ba68fff7-2a63-4718-b667-7bfae77afdf8 | CO2, Temp | Dubbel checken of deze in de kas hangt | 216 | Head level | 2.10 | 8.60 | To sensor 7F4 | 24-09-2025 | Aranet | https://aranet.com/en/pro/shop/co2_and_temperature_sensor
66 | Aranet CO2 & Temperature sensor 2 | 00817 | i-e6a34f69-de8c-4a95-81d3-7de0107c2add | CO2, Temp |  | 228 | Head level | 1.75 | 8.60 | To sensor BE9 | 24-09-2025 | Aranet | https://aranet.com/en/pro/shop/co2_and_temperature_sensor
67 | Aranet CO2 & Temperature sensor 3 | 00818 | i-68ee1ed0-8a51-4db2-8aa6-d260ed80c30b | CO2, Temp |  | 236 | Head level | 1.75 | 8.60 | To sensor 5CC | 24-09-2025 | Aranet | https://aranet.com/en/pro/shop/co2_and_temperature_sensor
68 | Aranet CO2 & Temperature sensor 4 | 0081D | i-e9055286-b774-40d1-a4c5-64cf8b0c9d4c | CO2, Temp |  | 208 | Head level | 1.75 | 8.60 | To sensor 3D5 | 24-09-2025 | Aranet | https://aranet.com/en/pro/shop/co2_and_temperature_sensor
Klimaatcomputer data |  |  |  | Metrics | Uitleg | Row number | Height | Height [m] | Distance from path | Position method
| Gr. 1 – Meteo – outside absolute humidity |  |  | Abs. hum
| Gr. 1 – Meteo – outside radiation |  |  | Radiation
| Gr. 1 – Meteo – outside temperature |  |  | Temp
| Gr. 1 – Meteo – outside RH |  |  | Rel. hum
| 1. Kas – Ventilatie windzijde – vent wind calc |  |  | Calculated wind side ventilation
| Meetbox – temperature |  |  | Temp
1. Kas – Ventilatiecompensator luwe zijde – setpoint
| Meetbox – Absolute humidity comment |  |  | Abs. Hum
1. Kas – Verwarmingmengset Mengklop – lower circuit
| 1. Kas – Ventilatie luwe zijde – vent lee calc |  |  | Calculated lee side ventilation
| Gr. 1 – Meteo – outside wind direction |  |  | Wind direction in degrees
| 1. Kas – Ventilatie luwe zijde – vent lee calc |  |  | Calculated lee side ventilation
| Gr. 1 – Meteo – outside PAR |  |  | PAR light
1. Kas – Ventilatiecompensator luwe zijde – calc
| 1. Kas – Ventilatie windzijde – vent wind |  |  | Openingspercentage
1. Kas – Verwarmingcompensator – setpoint
| 1. Kas – Doek – energy curtain |  |  | Openingspercentage
| PAR gewas |  |  | PAR light
| Gr. 1 – Meteo – outside wind speed |  |  | Outside windspeed
| Meetbox – Relative Humidity |  |  | Rel. Hum
Gr. 1 – Meteo – heat emission
| Weather Data TomatoWorld |  |  | Air pressure Leaf wetness Global radiation Rain Rain probability Relative humidity Temperature Wind direction Wind speed
| 1. Kas – Plant voice – leaf temp |  |  | Leaf temp
1. Kas – Ventilatiecompensator windzijde – setpoint
1. Kas – Verwarmingmengset Mengklop – lower circuit calc